Myo-electric Prescription Protocol for Adults

- The decision to provide a myo-electric prosthesis should be jointly agreed by all relevant members of the upper limb team

- Patients must be an established/ regular limb wearer (minimum six months) with the exception of bi-lateral upper limb amputees

- Patients must attend a practical demonstration of a sample myo-electric prosthesis

- Patient must be able to tolerate the weight of a myo-electric prosthesis

- Patient must demonstrate sufficient muscle signals to operate a myo-electric prosthesis

- Patient must have a suitable shape and length of the residual limb to accommodate appropriate suspension and electrodes

- Patients current prescription does not meet their clinical need or functionality level

- The occupational therapist and patient will engage in joint goal setting in order to establish specific goals of using a myo-electric prosthesis that cannot be met by an alternative prosthesis or assistive device, for example the need to use the prosthesis when reaching overhead.

- And/ or demonstrate a psychosocial need for a prosthesis which combines functionality with cosmesis.

- The patient must demonstrate sufficient cognition to enable the patient to effectively learn to use a myo-electric prosthesis

- The patient and therapist agree to commit to a minimum of three training sessions prior to prescription of a myo electric prosthesis with two further training sessions at delivery and post delivery. The patient will then be reviewed after three months, six months and one year.

- The patient must agree to abide by manufacturers instructions e.g. avoid contact with water, grease, solvents etc.

- Patients must agree to return the prosthesis if they are not finding it useful as the myo-electric components may be reused.